הודעה על החמרה  ( מידע בטיחות)  בעלון לרופא

תאריך 24.2.2015

שם תכשיר באנגלית ומספר הרישום EVICEL Human Surgical Sealant 118 61 298 95 02

שם בעל הרישום Omrix Biopharmaceuticals Ltd

טופס זה מיועד לפרוט ההחמרות בלבד !

| ההחמרות המבוקשות |  |  |
| --- | --- | --- |
| פרק בעלון | טקסט נוכחי | טקסט חדש |
| Indication | NR | EVICEL® is also indicated as suture support for haemostasis for suture line sealing in dura mater closure. |
| Contraindications | - EVICEL® must not be applied intravascularly. - Hypersensitivity to the active substances or any of the excipients - Spray application of EVICEL should not be used in endoscopic procedures. For laparoscopy, see Section 4.4. | - EVICEL® must not be applied intravascularly. - Hypersensitivity to the active substances or any of the excipients listed in section 6.1. - Spray application of EVICEL should not be used in endoscopic procedures. For laparoscopy, see Section 4.4. - EVICEL must not be used for sealing the suture line in dura mater if there are gaps of greater than 2 mm after suturing. - EVICEL must not be used as a glue for the fixation of dural patches. - EVICEL must not be used as a sealant when the dura mater cannot be sutured |
| Posology, dosage & administration | NR | ….for suture line sealing in dura mater closure, doses of up to 8 ml were used…. |
| Special Warnings and Special Precautions for Use | …… - Adequate data are not available to support the use of this product in tissue gluing, neurosurgery, application through an endoscope for treatment of bleeding or in gastrointestinal anastomoses. 6.6 Instructions Special precautions for Use, disposal and other Handling and Disposal Surgery; Spray set to be used; Applicator tips to be used; Pressure regulator to be used; Distance from target tissue; Spray pressure. Open surgery; EVICEL Applicator Device; 6 cm Yellow Flexible Tip; Omrix Pressure Regulator; 10 – 15 cm (4 – 6 inches); 20 – 25 psi/ 1.4 – 1.7 bar. 35 cm Black Rigid Tip. 45 cm Yellow Flexible Tip. Laparoscopic procedures; 35 cm Black Rigid Tip; 4 – 10 cm (1.6 – 4 inches); 15 – 20 psi/ 1.0 – 1.4 bar. 45 cm Yellow Flexible Tip; 4 – 10 cm (1.6 – 4 inches); 20 – 25 psi/ 1.4 – 1.7 bar. | …… - Adequate data are not available to support the use of this product in tissue gluing, neurosurgery, application through an endoscope for treatment of bleeding or in gastrointestinal anastomoses. - The concomitant use of EVICEL for dural suture line sealing with implants from synthetic materials or dural patches has not been evaluated in clinical studies. - The use of EVICEL in patients undergoing radiotherapy within 7 days after surgery has not been evaluated. It is not known whether radiation therapy could affect the efficacy of fibrin sealant when used for suture line sealing in dura mater closure. - Complete haemostasis should be achieved before application of EVICEL to seal the dural suture line. - The use of EVICEL as a sealant in transphenoidal and otoneurosurgical procedures has not been studied 6.6 Instructions Special precautions for Use, disposal and other Handling and Disposal Surgery; Spray set to be used; Applicator tips to be used; Pressure regulator to be used; Distance from target tissue; Spray pressure. Open surgery; EVICEL Applicator Device; 6 cm Yellow Flexible Tip; Omrix Pressure Regulator; 10 – 15 cm (4 – 6 inches); 20 – 25 psi/ 1.4 – 1.7 bar. 35 cm Black Rigid Tip. 45 cm Yellow Flexible Tip. Laparoscopic procedures; 35 cm Black Rigid Tip; 4 – 10 cm (1.6 – 4 inches); 15 – 20 psi/ 1.0 – 1.4 bar. 45 cm Yellow Flexible Tip; 4 – 10 cm (1.6 – 4 inches); 20 psi/ 1.4 bar. |
| Interaction with Other Medicaments and Other Forms of Interaction | NA | NA |
| Fertility, pregnancy and Lactation | NA | NA |
| Adverse events | MedDRA System Organ Class; Preferred Term. Adverse Reactions in Retroperitoneal or Intra-Abdominal Surgery Study. Infections and infestations; Abdominal abscess. Adverse Reactions in Vascular Surgery Study. Infections and infestations; Graft infection, Staphylococcal infection. Vascular disorders; Haematoma. General disorders and administration site conditions; Oedema peripheral. Investigations; Decreased haemoglobin. Injury, Poisoning and Procedural Complications; Incision site haemorrhage Vascular graft occlusion Wound Post procedural haematoma Post-operative wound complication. | MedDRA System Organ Class; Preferred Term. Adverse Reactions in Retroperitoneal or Intra-Abdominal Surgery Study. Infections and infestations; Abdominal abscess. Adverse Reactions in Vascular Surgery Study. Infections and infestations; Graft infection, Staphylococcal infection. Vascular disorders; Haematoma. General disorders and administration site conditions; Oedema peripheral. Investigations; Decreased haemoglobin. Injury, Poisoning and Procedural Complications; Incision site haemorrhage Vascular graft occlusion Wound Post procedural haematoma Post-operative wound complication. Adverse Reactions in Neurosurgery Study. Infections and Infestations; Meningitis. Nervous System Disorders; Intracranial hypotension (CSF leakage) CSF rhinorrhoea Headache Hydrocephalus Subdural hygroma. Vascular Disorders; Haematoma. Adverse Reactions – Neurosurgery In a controlled study involving 139 patients undergoing elective neurosurgical procedures (89 treated with EVICEL and 50 controls), a total of 7 subjects treated with EVICEL experienced nine AEs that were considered to be possibly related to the study product. These included intracranial hypotension (CSF leakage), CSF rhinorrhea, meningitis, headache, hydrocephalus, subdural hygroma, and haematoma. The incidence of CSF leakage and the incidence of Surgical Site Infections were monitored as safety endpoints in the study. At 30 days post-operatively the incidence of SSIs was similar between the two treatment groups. Post-operative CSF leakage occurred within 30 days from treatment in 4/89 (4.5%) subjects treated with EVICEL (two cases of CSF leakage with impaired wound healing and two cases of rhinorrhoea) and in 1/50 (2.0%) subjects treated with additional sutures. Reporting of suspected adverse reactions Reporting suspected adverse reactions after authorisation of the medicinal product is important. It allows continued monitoring of the benefit/risk balance of the medicinal product. Healthcare professionals are asked to report any suspected adverse reactions to the Ministry of Health according to the National Regulation by using an online form (http://forms.gov.il/globaldata/getsequence/getsequence.aspx?formType=AdversEffectMedic@moh.health.gov.il ) or by email (adr@MOH.HEALTH.GOV.IL ). Additionally, you may also report to the MAH, Omrix Biopharmaceuticals Ltd. by one of the following 2 ways: Call Omrix switchboard: 03-5316531 Email : ra-omrilpv@its.jnj.com |